## RESOLUTION OF THE BOARD OF SUPERVISORS OF ORANGE COUNTY, CALIFORNIA

November 4, 2025

WHEREAS, Section 101.2 of the California Fire Code (“CFC”) states that the purpose of the Code is to provide the minimum requirements to safeguard the public health, safety and general welfare, and to provide safety to fire fighters and emergency responders during emergency operations; and

WHEREAS, Health and Safety Code Section 17958.5(a) permits the County to make changes or modifications in the CFC which are reasonably necessary because of local climatic, geological or topographical conditions; and

WHEREAS, Health and Safety Code Section 17958.7 requires that the Board of Supervisors make express findings of the necessity for modification to the CFC before adopting such changes; and

WHEREAS, OC Public Works of the County of Orange recommended adoption of an ordinance repealing the California Fire Code, 2022 Edition, International Fire Code, 2021 Edition, and Ordinance 22-008, and adopting by reference the California Fire Code, 2025 Edition, with appendix and amendments specified thereto. These amendments are carryovers from the previous Ordinance; and

WHEREAS, said Ordinance will amend Article 1 of Division 3 of Title 3 of the Orange County Codified Ordinances; and

WHEREAS, OC Public Works of the County of Orange Department have recommended that changes and modifications be made to the Codes and have advised that certain said changes and modifications to the CFC are reasonably necessary due to local conditions in the County of Orange.

NOW, THEREFORE, BE IT RESOLVED that the Ordinance and amendments to amend Article 1 of Division 3 of Title 3 of the Orange County Codified Ordinances are herein found necessary as follows:

- SUMMARY

  - Section 3-3-3. These amendments are administrative in nature and allow for the local administration of building regulations. Administrative requirements are not subject to findings of the necessity for local climatic, geological or topographical conditions. The amendments include clarifications of violations and penalties.

  - Section 3-3-4. These amendments add definitions to clarify the terms OCFA, and spark arrester.

  - Section 3-3-5. These amendments include regulations for various fire hazards including open burning, the clearance and maintenance requirements related to brush and vegetation hazards near roads and structures.

  - Section 3-3-6. Adopts specific Sections in Chapter 4 “Fire Emergency Planning and Preparedness” for consistency with State requirements. The adoption includes one additional code section that has been amended to maintain consistency with terminology in CFC Chapter 50 amendments.

  - Section 3-3-7. Adopts Chapter 5 “Fire Service Features” as amended by SFM and provide additional clarification related to technical and process criteria for emergency responder radio coverage in buildings.

  - Section 3-3-8. Adopts Chapter 6 “Building Services and Systems” in its entirety without amendments.

  - Section 3-3-9. Adopts Chapter 7 “Fire and Smoke Protection Features” in its entirety without amendments.

  - Section 3-3-10. Adopts Chapter 8 “Interior Finish, Decorative Materials and Furnishings” without amendments.

  - Section 3-3-11. These amendments continue existing requirements for sprinkler protection in Group R detached one and two story family dwellings and in townhouses, including sprinklers when an addition is greater than 50 percent within any two-year period and the structure with the addition is 5,500 square feet or greater. Sprinkler protection in non-residential buildings will continue at 5,000 square feet. One amendment continues the requirement for a safety buffer for sprinkler calculations.

  - Section 3-3-12. Adopts Chapter 10 “Means of Egress” in its entirety without amendments.

  - Section 3-3-13. Adopts certain sections of Chapter 11 “Construction Requirements for Existing Buildings,” consistent with the sections adopted by the State and Chapter 12 “Energy Systems”.

  - Section 3-3-14. Adopts Chapter 20 “Aviation Facilities” in its entirety without amendments.

  - Section 3-3-15. Adopts Chapter 21 “Dry Cleaning” in its entirety without amendments.

  - Section 3-3-16. Adopts Chapter 22 “Combustible Dust-Producing Operations” in its entirety without amendments.

  - Section 3-3-17. Adopts Chapter 23 “Motor Fuel-Dispensing Facilities and Repair Garages” in its entirety without amendments.

  - Section 3-3-18. Adopts Chapter 24 “Flammable Finishes” in its entirety without amendments.

  - Section 3-3-19. Adopts Chapter 27 “Semiconductor Fabrication Facilities” in its entirety without amendments.

  - Section 3-3-20. Adopts Chapter 28 “Lumber Yards and Agro-Industrial, Solid Biomass and Woodworking Facilities” in its entirety with amendments. These amendments include the existing policy requirements for the Lumber yards and Woodworking Facilities and deletion of a section that conflicts with existing amendments. The amendments include permitting, processing, and the size limitation requirements. New amendments further clarify requirements for separation, temperature control, and fire protection water supplies for facilities with composting operations.

  - Section 3-3-21. Adopts Chapter 29 “Manufacture of Organic Coatings” in its entirety without amendments.

  - Section 3-3-22. Adopts Chapter 30 “Industrial Ovens” in its entirety without amendments.

  - Section 3-3-23. Adopts Chapter 31 “Tents and Other Member Structures” in its entirety without amendments.

  - Section 3-3-24. Adopts Chapter 32 “High-Piled Combustible Storage” in its entirety as amended by the SFM.

  - Section 3-3-25. Adopts Chapter 33 “Fire Safety During Construction and Demolition” in its entirety without amendments.

  - Section 3-3-26. Adopts Chapter 34 “Tire Rebuilding & Tire Storage” in its entirety as amendment by the SFM.

  - Section 3-3-27. Adopts Chapter 35 “Welding and Other Hot Work” in its entirety without amendments.

  - Section 3-3-28. Adopts Chapter 36 “Marinas” in its entirety without amendments.

  - Section 3-3-29. Adopts Chapter 37 “Combustible Fibers”, Chapter 39 “Processing and Extraction facilities”, Chapter 40 “Storage of Distilled Spirits and Wines” and Chapter 41 “Temporary Heating and Cooking Operations” in its entirety without amendments.

  - Section 3-3-30. Adopts Chapter 48 “Motion Picture and Television Production Studio Sound Stages, Approved Production Facilities, and Production Locations” in its entirety without amendments.

  - Section 3-3-32. Adopts Chapter 50 “Hazardous Materials – General Provisions” in its entirety with amendments. These amendments include the existing requirements for hazardous material chemical classification inventory requirements and restrictions on extremely hazardous substances in residential areas.

  - Section 3-3-33. Adopts Chapter 51 “Aerosols” in its entirety without amendments.

  - Section 3-3-34. Adopts Chapter 53 “Compressed Gases” in its entirety without amendments.

  - Section 3-3-35. Adopts Chapter 54 “Corrosive Materials” in its entirety without amendments.

  - Section 3-3-36. Adopts Chapter 55 “Cryogenic Fluids” in its entirety without amendments.

  - Section 3-3-37. Adopts Chapter 56 “Explosives and Fireworks” in its entirety with amendments. These amendments include existing requirements for electronic firing of displays and fall-out areas.

  - Section 3-3-38. Adopts Chapter 57 “Flammable and Combustible Liquids” in its entirety without amendments.

  - Section 3-3-39. Adopts Chapter 58 “Flammable Gases and Flammable Cryogenic Fluids” in its entirety as amended by SFM.

  - Section 3-3-40. Adopts Chapter 59 “Flammable Solids” in its entirety without amendments.

  - Section 3-3-41. Adopts Chapter 60 “Highly Toxic and Toxic Materials” is adopted in its entirety without amendments.

  - Section 3-3-42. Adopts Chapter 61 “Liquefied Petroleum Gases” in its entirety without amendments.

  - Section 3-3-43. Adopts Chapter 62 “Organic Peroxides” in its entirety without amendments.

  - Section 3-3-44. Adopts Chapter 63 “Oxidizers, Oxidizing Gases, and Oxidizing Cryogenic Fluids” in its entirety without amendments.

  - Section 3-3-45. Adopts Chapter 64 “Pyrophoric Materials” in its entirety without amendments.

  - Section 3-3-46. Adopts Chapter 65 “Pyroxylin (Cellulose Nitrate) Plastics” in its entirety without amendments.

  - Section 3-3-47. Adopts Chapter 66 “Unstable (Reactive) Materials” in its entirety without amendments.

  - Section 3-3-48. Adopts Chapter 67 “Water-Reactive Solids and Liquids” in its entirety without amendments.

  - Section 3-3-49. Adopts Chapter 80 “Referenced Standards” in its entirety with amendments. These amendments include changes to NFPA standards. The local amendments provide additional clarification of technical issues involving system design, installation techniques, and materials to improve system reliability and usability by firefighters. Also adopts existing requirements in Appendices B, BB, C, CC, dealing with fire flow and hydrants and H dealing with hazardous materials inventories and management plans to match State requirements.

## FINDINGS OF LOCAL CONDITIONS

Amendments related to life and fire safety contained in Sections 304.1.2, 305.6, 305.7, 307.6.1 thru 307.6.2.1, 320, 321, 323 thru 323.2, 324, 407.5, 501.1, 903.2, 903.2.8, 903.3.5.3, 2808.3

thru 2808.13, 4906.3, 4908, 5003.1.1.1, and Chapter 80 of the 2025 California Fire Code as recommended by OC Public Works of the County of Orange are hereby found to be reasonably necessary due to the following local conditions:

# Section 1

- Climatic Conditions

  - Orange County is located in a semi-arid Mediterranean type climate. It annually experiences extended periods of high temperatures with little or no precipitation. Hot, dry (Santa Ana) winds, which may reach speeds of 70 M.P.H. or greater, are also common to the area. These climatic conditions cause extreme drying of vegetation and common building materials. Frequent periods of drought and low humidity add to the fire danger. This predisposes the area to large destructive fires (conflagration). In addition to directly damaging or destroying buildings, these fires are also prone to disrupt utility services throughout the County. Obstacles generated by a strong wind, such as fallen trees, street lights and utility poles will greatly impact the response time to reach an incident scene.

  - The climate alternates between extended periods of drought and brief flooding conditions. Flood conditions may affect the Orange County fire Authority’s ability to respond to a fire or emergency condition. Floods also disrupt utility services to buildings and facilities within the County.

  - Water demand in this densely populated area far exceeds the quantity supplied by natural precipitation; and although the population continues to grow, the already-taxed water supply does not. Due to storage capacities and consumption, and a limited amount of rainfall future water allocation is not fully dependable. This necessitates the need for additional and on-site fire protection features.

  - These dry climatic conditions and winds contribute to the rapid spread of even small fires originating in high-density housing or vegetation. These fires spread very quickly and create a need for increased levels of fire protection. The added protection of fire sprinkler systems and other fire protection features will supplement normal fire department response by providing immediate protection for the building occupants and by containing and controlling the fire spread to the area of origin. Fire sprinkler systems will also reduce the use of water for firefighting by as much as 50 to 75 percent.

- Topographical conditions

  - Natural; slopes of 15 percent or greater generally occur throughout the foothills of Orange County. The elevation change caused by the hills creates the geological foundation on which communities with Orange County is built and will continue to build. With much of the populated flatlands already built upon, future growth will occur on steeper slopes and with greater constraints in terrain.

  - Traffic and circulation congestion is an artificially created, obstructive topographical condition, which is common throughout Orange County.

  - These topographical conditions combine to create a situation that places fire department response time to fire occurrences at risk and makes it necessary to provide automatic on-site fire-extinguishing systems and other protection measures to protect occupants and property.

- Geological Conditions

The Orange County region is a densely populated area that has buildings constructed over and near a vast and complex network of faults that are believed to be capable of producing future earthquakes similar or greater in size than the 1994 Northridge and the 1971 Sylmar earthquakes. Earthquake faults run along the northeast and southwest boundaries of Orange County. The Newport-Inglewood Fault, located within Orange County was the source of the destructive 1933 Long Beach earthquake (6.3 magnitude) which took 120 lives and damaged buildings in an area from Laguna Beach to Marina Del Rey to Whittier. In December 1989, another earthquake occurred in the jurisdiction of Irvine at an unknown fault line. Regional planning for reoccurrence of earthquakes is recommended by the state of California, Department of Conservation.

  - Previous earthquakes have been accompanied by disruption of traffic flow and fires. A severe seismic event has the potential to negatively impact any rescue or fire suppression activities because it is likely to create obstacles similar to those indicated under the high wind section above. The October 17, 1989, Santa Cruz earthquake resulted in one major fire in the Marina District (San Francisco). When combined with the 34 other fires locally and over 500 responses, the department was taxed to its fullest capabilities. The Marina fire was difficult to contain because mains supplying water to the district burst during the earthquake. This situation creates the need for both additional fire protection and automatic on-site fire protection for building occupants. State Department of Conservation noted in their 1988 report (Planning Scenario on a Major Earthquake on the Newport-Inglewood Fault Zone, page 59), “unfortunately, barely meeting the minimum earthquake standards of building codes places a building on the verge of being legally unsafe.”

  - Road circulation features located throughout the County also make amendments reasonably necessary. Located through the County are major roadways, highways and flood control channels that create barriers and slow response times. Hills, slopes, street and storm drain design, accompanied by occasional heavy rainfall, cause roadway flooding and landslides and at times may make an emergency access route impassable. There are areas in Orange County that naturally have extended emergency response times that exceed the 5 minute goal.

  - Soils throughout the County possess corrosive properties that reduce the expected usable life of water services when metallic pipes are in contact with soils.

Due to the topographical conditions of sprawling development separated by waterways and narrow and congested streets and the expected infrastructure damage inherent in seismic zones described above, it is prudent to rely on automatic fire sprinkler systems to mitigate extended fire department response time and keep fires manageable with reduced fire flow (water) resources available for a given structure. Additional fire protection is also justified to match the current resources of firefighting equipment and personnel within the Orange County Fire Authority.

# Section 2

Amendments to the 2025 Edition of the California Fire Code are found reasonably necessary based on the climate, topographical, and/or geologic conditions cited in Section 1 of this resolution and are listed as follows:

Code Section	Findings in Section 1

304.1.3	I

305.6	I & II

305.7	I & II

307.6.1 thru 307.6.2.1	I & II

324.1	I

325.1	I

327.1 thru 327.3	I

324	I & II

407.5	I & II

501.1	I, II & III

903.2	I, II & III

903.2.8	I, II & III

903.3.5.3	I, II & III

2808.3 thru 2808.13	I

5003.1.1.1	I, II & III

Chapter 80 Reference Standards

2025 NFPA 13 (Sprinkler Systems)	II & III

2025 NFPA 13-D (Single Family Sprinkler Systems)	I & II 2025 NFPA 24 (Underground Water Supply Systems)		III

NOW, THEREFORE, BE IT RESOLVED that a copy of this Resolution, together with the Ordinance adopting the California Fire Code, 2025 Edition, as amended, and related regulations described herein be filed with the State Department of Housing and Community Development and the California Building Standards Commission.